[image: image1.jpg]Preferred Vehicle Crossing Layout

-'g“ These expansion joints are
3)| not required on adjacent
@ vehicle crossings
b
g
[o]
Property 1 g Property 2
- 4000 mm - _ 1000mm 1000mm.__ 4000 mm -
T~ 7 N 7 N Cd
Progegx BoHngarv V
=
T @ [~ Footpath |3 u S
-
e L e
. mayor maynot be installed Taper B2 Kerb Taper ‘may of may not be instalied
gbomm | L e O 800mm o Ly
<> « >< ><
Layback Layback
| )
|
Single Vehicle Crossing
|
¥
Adjacent Vehicle Crossings
Note

Unless otherwise approved, all vehicle crossings are to be built as single crossings.

{ 4.0m wide with straight sides, offset by 1.0m from the property boundary )
Where adjacent driveways are located on each side of a property boundary, the layout is as above.
(2 No single crossings with a 800mm length of B2 kerb between the tapers)



[image: image2.jpg]-‘
CITY OF GREATER —'-—
WWW.GEELONGAUSTRALIA.COM.AU GEELONG



​




Vehicle Crossings Preferred Layout
Introduction

Consultants and contractors are advised that the City of Greater Geelong (CoGG) has adopted the preferred vehicle crossing layout shown in the sketch below.

Vehicle crossings shall generally be constructed as single vehicle crossings.  Where crossings are located on either side of a property boundary, they shall be constructed as two separate Single Crossings - the layout shall be as per that shown as “Adjacent Vehicle Crossings”.

This advice is to be read in conjunction with the current version of the Infrastructure Design Manual.  See standard drawings No.s 205 to 265 for construction details.

This advice is to be effective after August 15 2012 and vehicle crossings constructed after this date shall be of this preferred style unless otherwise approved.    

[image: image3.jpg]



No 4  -  August  2012











