
Sustainability Management Plan 

Insert Development Name

Date created:

Developed by:

Version: 
Glossary

GFA

Gross floor area

BESS

Built Environment Sustainability Score

SDAPP

Sustainable Design Assessment in the Planning Process

NCC

National Construction Code
HVAC

Heating, Ventilating, and Air Conditioning
NatHERS
Nationwide House Energy Rating Scheme (NatHERS)
SHGC

Solar Heat Gain Coefficient 

Contents

Insert table of contents

Key things to note

· Environmentally sustainable development options listed in this document are prompts. Please delete anything that is not relevant to your development. 

· We recommend that you use the Built Environment Sustainability Scorecard (BESS) to assess your development. 
· Every proposed environmentally sustainable design initiative that requires a significant building and/or works design feature – such as water tanks, skylights and roofing – must be shown either on the plans and/or described in a schedule, to be endorsed with the planning permit. 
· Please aim to exceed the benchmark targets contained in BESS, as discussed on the BESS website.

· The statement must reference each claim for a score and include sufficient detail to explain and substantiate each and every element claimed.

· The Sustainability Management Plan and all associated plans and schedules must be consistent with one another.
Project information

*Note: All red text is guidance text to be read and replaced accordingly if required. 

Site Description and Proposed Development

This Sustainability Management Plan has been prepared for the proposed development at Enter address. This proposal is classified as ‘large-scale’ according to the Sustainable Design Assessment in the Planning Process (SDAPP) Framework and Program (see Sustainability Management Plan Guidelines, page 7). 

This report demonstrates how the proposed development incorporates environmentally sustainable design. 

Insert other relevant project introduction information
	Planning Reference

	Planning reference number
	Enter Planning Reference Number

	Planning zone
	Enter Planning Zone Number


	The site

	Address


	Enter Address

	Development type
	Residential/ Non Residential/ Mixed Use/ etc.

	Number of storeys
	Enter Here – Storeys and Height 

	Car parking
	Enter Here – Levels of Car Parking

	Number of dwellings
	Enter Here – Numbers and type of dwellings

	Number of non-residential spaces
	Enter Here - Non Residential GFA and Number of Spaces

	Total site area
	Enter Here – M2

	Total gross floor area
	Enter Here – M2

	Gross floor area non-residential
	Enter Here – M2

	Gross Floor Area residential
	Enter Here – M2

	Gross Floor Area common
	Enter Here – M2

	Condition area (Residential)  
	Enter Here – M2


	Details

	Basement 
	Enter here car parking spaces

Enter here secure bicycle parking spaces  

Enter here kL rainwater tank

Enter here  m2 waste and recycling storage area 

	Ground floor
	Enter here eg  Retail Shops

	1st floor
	Enter here eg  Apartments

	2nd floor
	Enter here eg apartments

	3rd floor
	Enter here eg apartments

	Add additional floors/ information as required
	

	Roof
	Enter here e.g. Roof garden + 5kW Solar PV system 


Environmentally Sustainable Design Initiatives

Outline and summarise any general design features that will improve the environmental performance of the development, such as passive solar orientation and cross ventilation. 

Built Environment Sustainability Scorecard (BESS)

To complete the following summary, evaluate your proposed development using the BESS tool. You must achieve a minimum BESS score of 50 per cent, as well as a pass in all mandatory categories. Should you choose the use of an alternative tool, please provide an equivalent summary. 
	BESS Score Summary

	The proposed development has been assessed using the BESS assessment tool. 

A summary of the results is shown in the table below. For the full BESS Report, please see Enter Here – APPENDIX X
	Enter BESS Score Total


	Category
	Score
	Pass

	Management 
	Insert %
	

	Water 
	Insert %
	Yes/ No

	Energy
	Insert %
	Yes/ No

	Stormwater
	Insert %
	Yes/ No

	Indoor environmental quality
	Insert %
	Yes/ No

	Transport
	Insert %
	

	Waste
	Insert %
	

	Urban ecology
	Insert %
	

	Innovation
	Insert %
	


Sustainable design (by category)

1. Management
Objectives
· To encourage a holistic and integrated design and construction process

· To ensure appropriate sustainable design principles and strategies in early design stage

City of Greater Geelong minimum expectations

Sustainability should be incorporated throughout the process of design and construction. Good decisions made early will always deliver the maximum benefit for the lowest cost.

Target areas

NOTE: Below is a list of suggestions only, as each development has its own opportunities and constraints. If you do note a particular target area here, make sure it is also included in the relevant design drawing, or report.

Areas that might be addressed include:

· Involvement of ESD professional

· Sub-metering strategies

· Building tuning

· Building user’s guide

· other 

	Issues
	Design Responses
	Supporting documentation

	Pre-application meeting
	Has an ESD professional been part of the design process from the beginning? 

Was the ESD professional present at the pre-application meeting with council?
	Record of attendance at pre-application meeting.

	Thermal performance modelling
	Has any preliminary documentation been provided that demonstrates minimum energy efficiency standards (NCC) are satisfied or exceeded?

Preliminary documentation is to include a summary of the building fabric specifications.
	NatHERS report.

Notes on drawings.

	Metering
	A commitment to separate meters for residential, communal, and non-residential spaces (water, electricity, and gas)

	Note on drawings, strategy detailed in ESD report.

	Building Users’ Guide
	Is there a commitment to producing and issuing a Building Users’ Guide?

The ESD report is to include preliminary information of Building Users’ Guide such as the main sustainable design initiatives, systems and processes that building users will interact with.

	Preliminary guide submitted with ESD report.

	Other
	
	


More information can be found in the Management fact sheet on our website. 

Links to useful information

Built Environment Sustainability Scorecard 

City of Greater Geelong ESD Fact Sheets
Greater Geelong ESD Planning Policy
Greater Geelong ESD in Planning
2. Water efficiency
Objectives

· To use water efficiently and minimise total operating potable water use.

· To collect and reuse rainwater and stormwater and use alternative water sources appropriately.

City of Greater Geelong minimum expectations

· Rainwater capture and reuse for toilet flushing.
· BESS water category assessment of 50 per cent. 

Target areas
NOTE: Below is a list of suggestions only, as each development has its own opportunities and constraints. If you do note a particular target area here, make sure it is also included in the relevant design drawing, or report.

Areas that might be addressed include:

· minimising water demand

· water meters

· landscape irrigation 

· efficient fixtures

· heat rejection water 

· water consumption of fire systems.

Summary of commitment
	Issues
	Design Responses
	Supporting documentation

	Potable water use reduction
	Ensure the use of efficient fixtures, appliances, and the use of rainwater to reduce total potable water use.

Ensure 25% potable water reduction to achieve BESS credit.
	Demonstrate through ESD/ BESS report.

	Water efficiency rating of fixtures, fittings and connections 
	The suggested water efficiencies are as below:

· Showerhead minimum 3 Star WELS rating (> 4.5L/min < 6.0L/min).

· Tapware minimum 5 Star WELS rating (>4.5L/min < 6.0L/min)

· Toilets 4 Star WELS rating (> 4.0L < 3.5L average flush volume).

Dishwashers and washing machines should be default in BESS if present.
Water efficiency ratings should be annotated on relevant drawings.
	Note on drawings.



	Rainwater tanks
	Describe size, capacity, location, catchment area. 

Tanks should be shown on relevant floor plan or drawings. 

Describe the proposed connection and uses of rainwater tanks such as toilet flushing and irrigation.
	Drawing reference.

	Water efficient landscaping and irrigation
	Describe drought tolerant or indigenous plant species, detail on relevant plan or landscape plan. 

Describe water source for landscape irrigation. 
	Landscape drawing.

	Building Systems Water Use Reduction
	Wherever applicable ensure the efficient use of water and encourage the appropriate use of alternative water sources for cooling and fire testing systems to reduce total operating potable water.
Fire test system water tank and specifications including tank capacity and intended re-use should be provided on Site/Floor plans.
	Note on drawings/ ESD report.

	Other
	
	


More information can be found in the water efficiency fact sheet on our website.
Relevant standards

· BESS and Green Star, provide benchmarks for relevant issues

· Water Efficient Labelling Scheme provides information on appliances and fittings; highest available ratings are recommended

· Water Services Association of Australia, the National Water Conservation Rating and Labelling scheme 

· Improvements above NCC minimum standards are strongly encouraged
Links to useful information

Built Environment Sustainability Scorecard 

City of Greater Geelong ESD Fact Sheets
Water Efficient Labelling Scheme 
Water Services Association of Australia 

Melbourne Water STORM calculator 

Tankulator
3. Energy efficiency

Objectives

· To use energy efficiently and minimise total operating greenhouse emissions.

· To minimise energy peak demand through design – for example, orientating the building appropriately, shading glazed surfaces, optimising glazing to exposed surfaces, allocating space for solar panels provisions and external heating and cooling systems.

City of Greater Geelong minimum expectations

· BESS energy category assessment of 50 per cent. 

· Annual Cooling loads to not exceed 30 Mega joules per square meter for any dwelling

· External natural clothes drying facilities where possible

Target areas
NOTE: Below is a list of suggestions only, as each development has its own opportunities and constraints. If you do note a particular target area here, make sure it is also included in the relevant design drawing, or report.

Areas that might be addressed include:

· building fabric that is over minimum National Construction Code (NCC) requirements 

· operating energy 

· energy sub-metering 

· reducing peak energy demand 

· efficient shading 

· glazing 

· lighting efficiency 

· lighting zoning 

· efficient Heating, Ventilating and Air Conditioning (HVAC) system 

· HVAC zoning 

· efficient onsite electricity generation

· allowance for efficient fans and pumps 

· other.

Summary of commitment
	Issues
	Design Responses
	Supporting documentation

	NCC energy

efficiency requirements


	Provide preliminary energy ratings as follows:

· NatHERS star rating for residential dwellings.

· Façade calculator or preliminary NCC Section J assessment for non-residential areas. 

Alternatively, describe how the energy efficiency requirements will be achieved.

Exceed the minimum NCC requirements wherever possible.

Annotate thermal specifications on the drawings such as whole of window system U & SHGC values and insulation R values. 
	NatHERS/ESD report, NatHERS certificate, Façade calculator/NCC modelling report, Notation on drawings.

	Greenhouse Gas Emissions
	Efficient use of energy to reduce greenhouse gas emissions from building energy use.
	Demonstrate via BESS or ESD report.

	Peak Energy Demand
	Provision of suitable on-site renewable energy generation and/ or energy storage systems.

Describe how the proposed development is to reduce demand on electrical infrastructure during peak heating and cooling periods. 
	On site renewables/ storage shown on drawings, 

Describe in ESD report.

	Electrification
	Demonstrate commitment to delivering an all-electric development. New dwellings requiring a planning permit after January 1st, 2024, are required to be all electric as per Victoria’s gas substitution roadmap.

Avoid gas connection wherever possible.
	Note on drawings/ ESD report.

	Carpark ventilation
	For an enclosed car park, explain natural ventilation or carbon monoxide monitoring system.

Annotate specifications and performance details on the plans and ESD report.
	Note on drawings/ ESD report.

	Hot water system


	Describe hot water system type (Avoid gas hot water). Install solar hot water or electric heat pump hot water.

Plans should include the location of hot water systems.
	Note on drawings/ ESD report.

	Efficient lighting
	Consider using energy efficient lighting and motion detectors/time sensitive external lighting. 

Annotate the illumination power density of the internal lighting to be used within the development. 

Recommended to target an internal illumination power density 20% lower than the current NCC requirements.
	Note on drawings/ ESD report.

	Renewable Energy systems
	Provide mandatory minimum electrical infrastructure provisions for on-site renewable energy generation and storage in accordance with NCC 2022. 

Site, floor and/or roof plans should have the specifications (i.e., location, orientation, tilt, and size) of solar photovoltaic (PV) system. 
	Design and noted on drawings.

Describe in ESD report.

	Clothes drying lines and racks
	Describe available internal/external drying space and show on relevant floor plans.
	Design and noted on drawings.

Describe in ESD report.

	Efficient heating and cooling system 
	Choose and nominate heating, cooling, and HVAC systems with high efficiency ratings. 
	Noted on drawings.

Describe in ESD report.

	Other
	
	


More information can be found in the energy efficiency fact sheet on our website.
Relevant standards

· BESS, Green Star, BREEAM and LEED provide benchmarks for relevant issues
· Window Efficiency Rating Scheme compares summer and winter performance
· Minimum Energy Performance Standards Regulations in Australia 
· Energy Ratings are available for various appliances, including air-conditioning 

· Improvements above NCC minimum standards are strongly encouraged
Links to useful information

Built Environment Sustainability Scorecard 

City of Greater Geelong ESD Fact Sheets
House Energy Rating 

Window Energy Rating Scheme
Energy Smart Housing Manual
Your Home
Better Apartment Design Guidelines
Consumer Appliance Energy Ratings
Sample NatHERS assessments (sample template)
 

NatHERS software such as FirstRate calculates the required energy to maintain a comfortable dwelling temperature, using information about building fabric – that is, floors, walls, windows and roof – for input, plus the relevant climate zone (in this case Tullamarine, climate zone 60).

A representative sample of 10 apartments was modelled using NatHERS software. A range of apartment layouts and orientations, as well as the poorest thermal performance rating apartments were included. This is a useful way of checking that the development will meet the energy rating requirements of the Building Code of Australia. 
A minimum average of 7 stars is required to comply with the BCA (2022), with no apartment rating less than 6 stars. 

Enter the sample Nationwide House Energy Rating Scheme (NatHERS) ratings (if applicable) for the development in the table below.  Make sure you attach copies of the sample NatHERS rating to the completed report.
The following star ratings were achieved: 

	Dwelling
	Star rating
	Conditioned floor area
	Total Energy Use (MJ/m2)
	Heating Energy Use (MJ/m2)
	Cooling Energy Use (MJ/m2)

	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 

	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 

	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 

	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 

	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 

	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 

	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 

	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 
	  Enter Here 

	Average
	 - 
	 - 
	 - 
	 - 
	 - 


Based on this sample, the development is likely to achieve an average x star rating. Note these ratings depend on the following suggested assumptions: 

· all gaps around windows, doors are to be sealed

· all exhaust fans are to be self-closing

· external wall insulation R2.5 (additional R-value)

· window systems – U-value = 4.95, Solar Heat Gain Coefficient (SHGC) = 0.7 (standard aluminium frame, 6mm air gap, double-glazed units)

· others

4. Stormwater management

Objectives

· To improve the water quality of stormwater runoff, best practice standards is recommended. 

· To reduce the impact of stormwater runoff and meet best practice standards for managing stormwater.

· To incorporate Water Sensitive Urban Design principles, including stormwater reuse.

City of Greater Geelong minimum expectations

· A 100 per cent STORM score using Melbourne Waters STORM calculator or through the use of Model for Urban Stormwater Improvement Conceptualisation (MUSIC) modelling demonstrating best practice standards for managing stormwater
Target areas
NOTE: Below is a list of suggestions only, as each development has its own opportunities and constraints. If you do note a particular target area here, make sure it is also included in the relevant design drawing, or report.

Areas that might be addressed include:

· STORM rating

· MUSIC modelling

· site permeability

· discharge to sewer 

· watercourse pollution

· stormwater detention

· stormwater treatment

· other  

Summary of commitment
	Issues
	Design Responses
	Supporting documentation

	Rainwater Tanks
	NCC minimum standards for roof run-off area and tank volume are to be met.

Target rainwater tank reliability is to be at least 80% in the STORM/ MUSIC assessment.
Wherever possible indicate rainwater tank’s location and size on plans, and proposed water uses (toilet flushing and irrigation).
	Note on drawings.

Describe in ESD report.

	STORM/MUSIC Assessment
	Provide full STORM/MUSIC report and ensure minimum standards are met.

The tank size, drainage and treatment measures should be consistent between the submitted ESD report, BESS Report, and drawings.
	WSUD assessment, plan references

	Stormwater Treatment
	Most developments will require on-site stormwater treatment and stormwater detention systems to reduce stormwater pollution before it goes to Legal Point of Discharge (LPOD).

Council encourages biofiltration treatment measures such as raingardens, buffer strips or swales. Stormwater treatment should be in communal areas.

The plans should detail the type of stormwater treatment, area to be treated, size of treatment, cross-sections, and maintenance schedules.

Proprietary stormwater treatment devices such as mechanical stormwater treatment are generally not accepted. 
	Landscape, WSUD or architectural drawing references. WSUD assessment.

	Impervious surfaces and their related treatments 
	List all the exposed impervious surfaces and related treatment measures. 

Cross sectional details should be provided on the plans for biofiltration treatments such as raingardens, swales, and permeable hard surfaces.

Provide details of permeable and impermeable surfaces within the site area. Detail how stormwater is to drain.
Describe impervious area shape, topography, and area in m², show on relevant floor/site plans.
	Landscape, WSUD or architectural drawing references. WSUD assessment.

	Pervious surface areas and on-site detention
	List all pervious surfaces, including porous paving, gardens, raingardens, tree pits, buffer strips and swales. Include size, area of runoff and location on plans. 
	Landscape, WSUD or architectural drawing references. WSUD assessment.

	Other
	
	


More information can be found in the stormwater management fact sheet on our website.
Relevant standards

· A minimum 100 per cent STORM rating is required

· Meeting Victoria’s best practice storm water targets is strongly recommended

· BESS, Green Star, BREEAM and LEED provide benchmarks for relevant issues

· Water Sensitive Urban Design 

· Environmental Protection Authority Victoria

· Water Services Association of Australia, the National Water Conservation Rating and Labelling scheme 

· Improvements above NCC minimum standards are strongly encouraged
Links to useful information

Built Environment Sustainability Scorecard
City of Greater Geelong ESD Fact Sheets 
Melbourne Water STORM calculator 

Water Sensitive Urban Design Principles 

Environmental Protection Authority Victoria 

Water Services Association of Australia 
4. Indoor Environmental Quality (IEQ)

Objectives 

· To achieve a healthy indoor environment quality for building occupants using fresh air intake, cross ventilation, and natural daylight.

· To achieve maximum thermal comfort with minimal mechanical heating, ventilation and cooling.

· To reduce indoor air pollution by using low-toxic materials. 

· To minimise reliance on mechanical heating, ventilation, cooling and lighting systems. 

· To minimise noise levels and noise transfer within and between buildings and associated external areas.

City of Greater Geelong minimum expectations

· A minimum BESS score of 50 per cent.

· Adequate daylight to all living areas and bedrooms (as defined in BESS)
· Openable windows in all habitable rooms

· Cooling loads to not exceed 22MJ/s.qm in NatHERS climate Zone 60 for any dwelling

· Cooling loads to not exceed 19MJ/s.qm in NatHERS climate Zone 64 for any dwelling

· Cooling loads to not exceed 21MJ/s.qm in NatHERS climate Zone 63 for any dwelling

· Cooling loads to not exceed 23MJ/s.qm in NatHERS climate Zone 66 for any dwelling

· Appropriate shading to all windows receiving direct sunlight

Target areas
NOTE: Below is a list of suggestions only, as each development has its own opportunities and constraints. If you do note a particular target area here, make sure it is also included in the relevant design drawing, or report.

Areas that might be addressed include:

· thermal comfort

· natural ventilation

· daylight

· external views

· orientation of single aspect dwellings

· glare prevention

· hazardous materials and Volatile Organic Compounds

· electric lighting levels

· acoustics

· other. 

Summary of commitment
	Issues
	Design Responses
	Supporting documentation

	Daylight


	Demonstrate how a high level of amenity is achieved through the provision of natural daylight.

Demonstrate compliance with the BESS daylight criteria using Green Star hand calculations or daylight modelling.

Ensure all relevant areas have a reasonable provision of glazing/ skylights for daylight amenity.

Glazing should achieve a Visible Light Transmittance (VLT) of at least 40-60% depending on the proposed verification method, daylight modelling should be provided if a lower VLT is specified. 

Borrowed light rooms and light courts should not be adopted where possible. 

Daylight assessments should consider all relevant shading.

For unconditioned areas with limited daylight access, it is advisable for 10% of the roof sheeting to be transparent.
	Daylight report, hand calculations, provision of glazing on plans.

	Natural ventilation


	Describe how rooms can be sufficiently naturally ventilated to provide fresh air and passive cooling opportunities. 

Show window openings on elevation drawings.

Utilise window types that provide a high level of ventilation.

Ensure all habitable rooms have operable windows.

Provide natural ventilation for all common areas, lobbies, and carparks where possible.

The provision of ceiling fans is encouraged.
	Ventilation diagrams on floor plans, window openings shown on elevations.

	Thermal comfort
	Demonstrate passive thermal performance through preliminary thermal modelling (NatHERS, Section J or equivalent).

Northern Eaves should be at least 25% of the window height as per the rule of thumb included in the Energy Smart Housing Manual.
Adjustable external vertical shading is recommended to East, West and North facing windows.

Double glazing should be provided to all habitable rooms and the drawings should be annotated to show the targeted U and SHGC values.
	Window/ shading annotations on plans and elevations.

Energy efficiency report.

	Orientation
	Describe how the development been designed to make best use of orientation and shading for passive thermal design.

Where possible orient living area glazing to the North to take advantage of winter sun.
	Development plans, ESD report.

	Air quality
	Paints, sealants, adhesives, carpets, and engineered wood should meet relevant indoor pollutant emission limits.

Nominate building materials and finishes with low levels of Volatile Organic Compounds (VOCs). 

Material standards should be provided for each product type.
	Material commitments in ESD report.

	Others
	
	


More information can be found in the indoor environment quality fact sheet on our website. 
Relevant standards
· BESS, Green Star, BREEAM and LEED provide benchmarks for relevant issues

· Good Environmental Choice Australia Standards 

· Australian Green Procurement 

· Improvements above NCC minimum standards are strongly encouraged
Links to useful information

Built Environment Sustainability Scorecard 

City of Greater Geelong ESD Fact Sheets
Better Apartment Design Guidelines
Good Environmental Choice Australia Standards 

Your Home 
5. Transport

Objectives

· To encourage walking, cycling and public transport (in that order) with supportive built environments. 

· To minimise car dependency. 

· To promote low-to-zero-emission-vehicle technologies and infrastructure
City of Greater Geelong minimum expectations

· Bicycle parking – one per dwelling

Target areas

NOTE: Below is a list of suggestions only, as each development has its own opportunities and constraints. If you do note a particular target area here, make sure it is also included in the relevant design drawing, or report.

Areas that might be addressed include:

· minimising car parks for conventional vehicles

· providing bike storage

· providing access to end-of-trip facilities, such as showers and lockers

· car sharing

· green travel plan

· other.  

Summary of commitment

	Issues
	Design Responses
	Supporting documentation

	Bicycle Parking
	List the total number of bike parking spaces and the ratio to the total number of building users and guests. 
Employee/ resident bike parking is to be secure, easy to access and undercover. BESS credits are not available for mounted bicycle parking above car bonnets due to access difficulties.

Bicycle parking spaces are to be drawn on the floor plans, including dimensions and the rack system.
It is encouraged to provide facilities for cargo bikes, electric bikes/ scooters, and bike maintenance.
	Initiative location on floor plans

	End-of-trip facilities 
	Describe how the design provides end-of-trip change facilities (lockers and showers) for bike users. 
Demonstrate the ratio to the total number of on-site bicycle storage spaces. 
Locker and accessible shower dimensions should be provided in the floor plan as specified in the BESS tool notes. 

Appropriate change facilities should be provided.
	Initiative location on floor plans

	Electric Vehicles
	Describe electric vehicle charging infrastructure provisions including the load management system. 
Minimum electrical infrastructure provisions to facilitate electric vehicle charging and load management may be required by NCC 2022.

The design must be meet local fire safety regulations.
	Design on floor plans and provide details in ESD report.

	Car sharing
	Describe any on or off-site car share services and show on relevant site plans.
	Initiative location on floor plans

	Minimising car parks for conventional vehicles
	To minimise car dependency and promote the use of public transport, walking and cycling.
Describe any parking dispensation being sought and provide details for consideration. 
	Justify parking numbers in ESD or traffic report. 

	Small vehicle parking
	Designated parking for small vehicles such as motorbikes or mopeds are to be nominated on the plans.
	Initiative location on floor plans

	Green Travel Plan
	Provide a Green Travel Plan report.
	Green Travel Plan report.

	Other
	
	


More information can be found in the transport fact sheet on our website.
Relevant standards

· BESS, Green Star, BREEAM and LEED provide benchmarks for relevant issues

· Council Legislation 

Links to useful information

Built Environment Sustainability Scorecard 

City of Greater Geelong ESD Fact Sheets
Off-setting Car Emissions Options 

Bicycle Network 
7. Waste management

Objectives

· To minimise waste and encourage reuse and recycling during design, construction and operation.

· To ensure long-term reusability of building materials. 

· To allow sufficient space for future waste management changes, including (where possible) composting and green waste facilities.
City of Greater Geelong minimum expectations

· Recycling facilities and general waste facilities are equally convenient.

Target areas

NOTE: Below is a list of suggestions only, as each development has its own opportunities and constraints. If you do note a particular target area here, make sure it is also included in the relevant design drawing, or report.

Areas that might be addressed include:

· plans for construction waste management and operations waste management

· access and storage for recycling and green waste

· other. 

Summary of commitment

	Issues
	Design Responses
	Supporting documentation

	Building Re-Use
	Recommend at least 30% of the existing building been re-used. This can include retention of existing dwellings during construction.
	Site and floor plans

Demonstrate % of existing building

	Food & Garden Waste
	Demonstrate on-site management of food and garden waste.

Currently, City does not provide facilities for collection and management of FOGO bins.

All Victorian councils will move to a 4-bin system by 2030
	Site and floor plans

Details of the organic waste system



	Convenience of Recycling
	All waste streams should be equally convenient to encourage the correct disposal of waste. 

Demonstrate reuse and recycling during the operational life of the building.
	Site and floor plans

Substantial explanation in ESD report

	Construction waste management
	Describe how construction waste will be managed through the construction process, including material sorting, disposal, and targeted recycling rates.

Can existing building materials be sold or recycled?
	Waste Management Plan (WMP)

	Operation waste management
	Describe how operational waste will be managed through the occupied life of the building.
	Waste Management Plan (WMP)

	Others
	
	


More information can be found in the waste management fact sheet on our website. 
Relevant standards
· BESS, Green Star, BREEAM and LEED provide benchmarks for relevant issues

· ISO14001 Environmental Management System 

Links to useful information

Built Environment Sustainability Scorecard 

City of Greater Geelong ESD Fact Sheets
Sustainablity Victoria – Recycling and Reducing Waste
8. Urban Ecology

Objectives 

· To protect and enhance biodiversity within the municipality. 

· To provide environmentally sustainable landscapes and natural habitats, while minimising the urban heat island effect. 
Summary of commitment

	issues
	Design Responses
	Supporting documentation

	Communal spaces
	Nominate areas within the development that encourage interaction between building occupants. Such areas might include BBQ areas, gyms, or rooftop gardens. 

Walkways, stairs, and corridors are not considered communal spaces.

Express the communal spaces area in square meters.
	Show on relevant site/floor/landscape plans.

	Vegetation
	Express the overall vegetation area as a % of the total site area.


	Show on relevant site/floor/landscape plans.

	Green Roofs
	Encourage the appropriate use of green roofs to mitigate the impact of the urban heat island effect.
	Site plans showing the green roof area.

	Green Walls and Facades
	Encourage the appropriate use of green walls and facades.
	Site plans showing the green walls and façade areas

	Private Open Space - Balcony / Courtyard Ecology
	Encourage urban greening through the provision of taps and drains to each private open space. 

Built in planters are also encouraged.
	Show on relevant site/floor/landscape plans.

	Food Production
	Nominate on site facilities allocated to encourage the production of fresh food.
	Show on relevant site/floor/landscape plans.

	Season heat control
	Describe how the design has used vegetation and appropriate reflectance materials to control seasonal heat gain, glare, and ventilation. 
	Show on relevant site/floor/landscape plans.

	Others
	
	


More information can be found in the urban ecology fact sheet on our website.
Relevant standards
· BESS, Green Star, BREEAM and LEED provide benchmarks for relevant issues

· Section 3 / 4 of the NSW Environmental Management Systems Guidelines 1998 or 2007

· ISO14001 Environmental Management System 
Links to useful information

Built Environment Sustainability Scorecard 

City of Greater Geelong ESD Fact Sheets
City of Melbourne Draft Urban Ecology Strategy
9. Innovation

Objectives 

· To encourage innovative technology, design and processes that positively influence the sustainability of buildings.
City of Greater Geelong minimum expectations

This category is designed to recognise new or outstanding initiatives not recognised elsewhere, such as in the Green Star tools. While this category is not specifically covered in Clause 15.01-2L, the information does often overlap with other categories. It is therefore worthwhile trying to address this category in any proposed development.

Target areas

NOTE: Below is a list of suggestions only, as each development has its own opportunities and constraints. If you do note a particular target area here, make sure it is also included in the relevant design drawing, or report.

Areas that might be addressed include:

· Significant enhancements to the environmental performance 

· Defining synergies between building elements and building uses

· Innovative social improvements

· New technology
· Good passive design approach

· Responding to local climate conditions

· New design approach

· Other

Summary of commitment
	Issues
	Design Responses
	Supporting documentation

	Significant enhancement to the environmental performance
	Describe how the design exceeds best practice standards in one or more of the other 9 categories
	

	New technology 
	Describe how new technology will be used to enhance design outcomes.
	

	Excellent passive design
	Describe how passive design strategies will maximise natural resources and minimise greenhouse gas emissions. 
Commitment to achieving a 3rd party excellence standard such as Passive House.
	

	Responding to local current and future climate conditions
	Describe how the design will respond to current and future climate conditions. 


	

	Others
	
	


More information can be found in the innovation fact sheet on our website. 
Relevant standards

· BESS, Green Star, BREEAM and LEED provide benchmarks for relevant specifications
· Exceeding typical performance benchmarks or enhancing typical building processes 

· Improvements above NCC minimum standards are strongly encouraged
Links to useful information

Built Environment Sustainability Scorecard 

City of Greater Geelong ESD Fact Sheets
Green Building Council Australia 

Victorian Eco Innovation lab 

Environment Design Guide 
Implementation
To prove your plans to implement the environmentally sensitive design initiatives in this report, you must demonstrate the following: 

· full integration with architectural plans and specifications

· full integration with building services design drawings and specifications

· endorsement of the environmentally sustainable design report, with town planning drawings

· environmentally sustainable design initiatives to be included in plans and specifications for building approval.

Replace red text within the ‘responsibility’ column and nominate who from the project team is responsible for the delivery of each applicable action.  

The following implementation schedule is provided as an example.
	Actions
	Requirement
	Responsibility
	Date Completed

	NatHERS Assessments
	Full NatHERS ratings for each dwelling, based on recommendation of sample ratings 
	ESD Consultant, Architect
	

	Window glazing
	To be specified according to energy ratings & BCA
	Architect, Builder
	

	Insulation & sealing
	To be specified according to energy ratings
	Architect, Builder
	

	Air-conditioning systems
	Reverse cycle split systems, 5-star heating cycle and 5-star cooling cycle
	Services Engineer, Builder
	

	Hot water heating
	Centralised solar-gas hot water system with a minimum 50% solar contribution and a minimum gas system efficiency of 86%
	Services Engineer, Builder
	

	Lighting
	To meet 5W/m2 as per BCA
	Architect, Builder
	

	Security Doors
	Security doors on all apartment entrance doors. 
	Architect, Builder
	

	Motion / time switch controls
	Common area lighting (including carpark lighting) to be controlled by motion sensors or timers as appropriate. 
	Services Engineer, Builder
	

	Bike storage
	# bicycle parking spaces to be installed in ground level storage room. 
	Architect, Builder
	

	Clothes drying
	Foldaway clotheslines to be installed to dwelling S.P.O.S.
	Architect, Builder
	

	Metering
	Install separate water and electricity meters to each apartment
	Services Engineer, Builder
	

	VSD pumps/fans
	Specify and install pumps and fans with variable speed drives
	Services Engineer, Builder
	

	Energy efficient lifts
	Specify and install energy efficient lifts
	Services Engineer, Builder
	

	Apartment shutdown switches
	Each apartment to have a ‘shutdown switch’ located inside entrance doors for all non-essential appliances. 
	Services Engineer, Builder
	

	Rainwater tank
	Specify and install 50,000 L rainwater with plumbing to all toilets. 
	Services Engineer, Builder
	

	Water efficient toilets
	Specify and install minimum 4 star toilets
	Architect, Builder
	

	Water efficient taps
	Specify and install minimum 5 star taps
	Architect, Builder
	

	Water efficient showers
	Specify and install minimum 3 star showerheads
	Architect, Builder
	

	Water efficient appliances
	Specify and install dishwashers with WELS star rating within 1 star of best available
	Architect, Builder
	

	Fire system test water capture
	Specify and install fire system with ability to capture and reuse water. 
	Builder, Services Engineer
	

	Concrete
	Concrete to have minimum 20% recycled aggregate content. 
	Builder
	

	Plasterboard
	Plasterboard to have minimum 10% recycled content. 
	Builder
	

	Timber
	All timber to be FSC or AFS certified
	Builder
	

	Material Re-use
	Bricks and other material to be salvaged from demolition of existing building and reused in new building. 
	Architect, Builder
	

	Topsoil 
	Topsoil on existing site to be retained and used in landscaping for new building. 
	Builder
	

	Construction Management Plan
	Prepare Construction Waste Management Plan to maximise recycling of construction waste (80% min). 
	Builder
	

	Low VOC paints, sealants, adhesives
	Specify and use low VOC paints, sealants, and adhesives
	Architect, Builder
	

	Building Users Guide
	Prepare Building Users Guide and distribute to occupants. Display in prominent location at apartment entrance

	Owner’s Corporation, ESD Consultant, Building Services
	

	Building tuning
	Undertake building services fine-tuning each quarter for the first 12 months of occupation. 
	Owner’s Corporation, Building Services
	


Appendix - xx

Attach all relevant supporting reports for example:

· Built Environment Sustainability Scorecard

· NatHERS sample ratings or and preliminary Façade calculator
· Daylight modelling

· Renewable energy

· STORM/ MUSIC Results and WSUD response

· Site Management Statement

· Other.

Supporting documents

Please indicate which supporting documentation has been provided as part of your submission (documents listed below are example documents, add others as required).
Assessment Tools:

· Built Environment Sustainability Scorecard (BESS) assessment 

· Green Star
Energy Efficiency:

· Nationwide House Energy Rating Scheme (NatHERS) assessment 

· NCC wall-glazing assessment 

· NCC ‘Deemed to Satisfy’ or Verification using a Reference Building Report 

· NCC Lighting Calculator Assessment 

· NABERS Report
· Other NCC performance solution
Water Efficiency:

· Tankulator Assessment    

Stormwater:

· Storm Calculator Report 

· Model for Urban Stormwater Improvement Conceptualisation (MUSIC) Report 
Indoor Environment Quality:

· Daylight Modelling

· Green Star Daylight Hand Calculations

· Ventilation Markup

Transport:

· Walkscore Assessment 

· Green Travel Plan

Waste:

· Waste Management Plan

Other:

· Other_________________________________________________
4 City of Greater Geelong Sustainability Management Plan template 
 21

